MTU Department of Chemical Engineering

2004 Laboratory Safety Inspection Checklist

Room Number:       	Laboratory Supervisor:

Inspector:        	Date:

# Y = Yes     N = No     N/A = Not Applicable

A.  Emergency	Y      N    N/A

- Completed emergency information labels posted outside room

- Exits not blocked

- Window on laboratory door not covered

- Emergency Exit route posted on inside of door

- Fire Extinguisher:	Available within laboratory

Clearly visible

Not blocked

Annual inspection is up-to-date

Correct for flammables present

- Safety shower:	Available within laboratory

Clearly visible

Not blocked

Annual inspection is up-to-date

- Eye wash:	Available within laboratory

Clearly visible

Not blocked

Annual inspection is up-to-date

7.  Spill kits:	Available within laboratory if chemicals present

Clearly visible

Not blocked

Appropriate for chemicals present (includes mercury)

B.  Housekeeping

- Counters and floor clear of clutter

- No food or evidence for food

C.  Compressed Gas

- Manual shutoff valves provided at all points of supply and use

- Corrosive gases stored no more than 6-months

- All cylinders secured in place

- Pressure gauges in place

D.  Mechanical Guarding

- Machine guarding in place

2.  Sharps disposal container available if hypodermic needles present in lab

E.  Electrical

- Electrical cords - not pinched, broken, cracked, or covered up

- Circuits feeding potentially wet areas protected by GFCI

- No exposed and energized electrical parts

- Electrical panels are not blocked

- Electrical panels labeled, even when not in service

Laboratory Safety Inspection Checklist, p. 2		Lab No.__________

F.  Ventilation

- Laboratory hood sash is in working order - not stuck, broken, or removed

- Equipment or materials do not obstruct air flow

- Hood interior is clean, uncluttered, and not used as storage

- Air flow rate is posted or flow gauge is present(between 80 - 120 fpm)

- Air flow indicator on hood shows positive indication of hood function

G.  Personal Protective Equipment 	Y      N    N/A

- Appropriate safety eye wear is worn

- Appropriate shoes worn

- Necessary PPE available

H.  Chemical Storage

- Chemicals in open kept to a minimum

- Flammable/combustible liquids stored in safety cans or flam. stg. cabinets

- Flammable storage cabinets grounded

- Incompatible chemicals, i.e. acids and bases, stored separately

- Chemical containers are properly labeled

- Chemical storage cabinets labeled

I.  Chemical Waste Management

- Chemical wastes stored in proper containers and location

- All chemical wastes in labeled containers

- All chemical wastes in compatible groups

- Chemical waste disposal done regularly

J.  Hazard Communication

- MSDS sheets available for all non-R&D chemicals in lab

- Safety Manual accessible

- Emergency response phone numbers permanently marked on the phone

- Chemical inventory is up-to-date and available

## K.  Glassware

- Properly stored

- Chipped, broken, or scratched glassware is disposed of

- Broken glass container provided

L.  Drying Ovens

1.  JSA’s for use are on file and followed.

2.  A logbook is used to document use.

3.  Direct-heated ovens are not used to dry flammables.

4.  Mercury thermometers are not used in ovens.

5.  Ovens used to dry materials that off-gas toxic or noxious vapors are located in a hood.

M.  Compared to last inspection

Improved	  About the same	  Conditions are worse

Provide specifics on all items marked N above on an attached separate piece of paper.  Also list special hazards or conditions not covered on this form.

Signatures of Inspectors: ____________________________________________  Date: ______________

Signature of Lab Supervisor(s): ______________________________________  Date: ______________

Signature of Department Chair: ______________________________________  Date: ______________

November, 2003