## Sheet1
Name: | Lab Partner: | Lab Time: | Section A or B: | Lab Station | steam valve SV06 position (8ths open) | air pressure on regulator controlling pneumatic steam valve SV06 (psig) | water inlet temperature at steady state (oC) | water outlet temperature at steady state (oC) | condensing steam temperature (oC) | condensing steam gauge pressure (either inches Hg vacuum or psig, please indicate) | first pail and scale steam flow rate result (grams/s) | second pail and scale steam flow rate result (grams/s) | third pail and scale steam flow rate result (grams/s) | fourth pail and scale steam flow rate result (grams/s) (enter zero if none) | steam valve SV06 position (8ths open) | air pressure on regulator controlling pneumatic steam valve SV06 (psig) | water inlet temperature at steady state (oC) | water outlet temperature at steady state (oC) | condensing steam temperature (oC) | condensing steam gauge pressure (either inches Hg vacuum or psig, please indicate) | first pail and scale steam flow rate result (grams/s) | second pail and scale steam flow rate result (grams/s) | third pail and scale steam flow rate result (grams/s) | fourth pail and scale steam flow rate result (grams/s) (enter zero if none) | Open-Ended Response
Nic Stoll | Richard Linck | 1 | A | 2 | 5.5 | 11.25 | 13 | 23 | 94.9 | 3.0 inches Hg | 2.22 | 2.35 | 2.23 | 0 | 6.5 | 13 | 13 | 32 | 97.5 | 0.5 | 3.6 | 3.65 | 3.63 | 0
Shaun Wolf | Dana Savage | 9 | A | 2 | 6 | 12.1 | 14.4 | 26.4 | 97.4 | 0 (psig) | 2.88 | 3.08 | 3.06 | 0 | 6.5 | 12.9 | 14.5 | 29.5 | 97.9 | .4 psig | 3.6 | 3.37 | 3.33 | 0
Katherine Massa | Kevin Bugay | 9 | B | 2 | 7 | 13 | 14.3 | 34.5 | 97.6 | -0.5 in Hg | 4.92 | 4.16 | 3.88 | 0 | 6 | 11.3 | 14 | 26 | 96.3 | 3.2 in Hg | 2.71 | 2.58 | 2.63 | 0 | At 7/8ths open, we had a bad thermometer that kept dropping temperature (~6 C). Once we realized it wasn't accurate we switched thermometers. We are not sure if we reached complete equilibrium because of this.
Marco Ramon | Jeff Galla | 3 | A | 2 | 7.5 | 14 | 13.1 | 39.5 | 101 | 1 | 4.9984 | 5.1746 | 4.83 | 0 | 7 | 13.5 | 13.4 | 35.1 | 96.3 | 3 | 4.3306 | 4.0663 | 4.4384 | 0
Morgan Fisher | Zachary Otis | 1 | B | 2 | 7.5 | 14 | 14 | 38.7 | 99.9 | 0 | 6.891 | 6.25 | 4.991 | 5.104 | 8 | 15 | 13.2 | 25.7 | 96.3 | -6 in Hg | 5.916 | 5.573 | 0 | 0 | The data for 8/8 open was taken at a flowrae of 3.092 gpm due to issues with being at the beging of the steam line and being fully open.
Alex Wright | Adrien Steinhurst | 1 | B | 3 | 6.5 | 12 | 15.33 | 27.9 | 98 | 0.13 in HG | 0.0023 | 0.0021 | 0.0022 | 0 | 5.5 | 11 | 15 | 21.2 | 94.3 | 2.13 in Hg | 0.0011 | 0.0011 | 0.0012 | 0
Brandon Schmidt | Brandon Schmidt | 1 | A | 3 | 6 | 11.2 | 14 | 233.7 | 97.7 | 0.5 in Hg | 1.66 | 1.6 | 1.61 | 1.63 | 6.5 | 12 | 13.7 | 26.8 | 98.7 | 0.1 in Hg | 2.23 | 2.12 | 2.1 | 2.21
Ashley Lobe | Melissa Wilson | 9 | A | 3 | 7.5 | 13 | 13.3 | 31.6 | 98.7 | 0 psig | 2.96 | 2.93 | 2.94 | 0 | 7 | 11 | 14 | 22 | 96.7 | 1.8 inches Hg | 1.35 | 1.25 | 1.24 | 0 | The 1st trial of our 2nd set appears to have been taken too early.
Michael Groess | Alex Brill | 9 | B | 3 | 8 | 14.1 | 16 | 41.1 | 100.1 | .8 psig | 4.2753 | 4.2585 | 4.3776 | 0 | 5.5 | 11 | 15 | 23.1 | 95.4 | -2.9 inches Hg | 1.384 | 1.272 | 1.301 | 0 | Having enough thermocouples available so each group could have three would have assisted us in taking the temperature data.
Tracy Mulka | Savanna Curtis | 9 | A | 4 | 5.5 | 10 | 13.9 | 19.1 | 96.9 | 0 | 1.75 | 0.979 | 0.928 | 0 | 8 | 15.2 | 14 | 45.6 | 100.2 | 0 | 2.79 | 1.62 | 2.49 | 0
Gianna Gomez-Mayo | Taylor Hover | 1 | B | 4 | 5.5 | 12 | 14 | 25 | 99 | 0 | 1.6728 | 1.9847 | 1.894 | n/a | 7.5 | 14.8 | 13.6 | 39.7 | 99 | 0 | 3.995 | 4.1367 | 4.1674 | n/a | It was a very interesting lab! I enjoyed seeing how the heat exchanger works. I wish we could run it again!
Valerie Clevenger | Michael Fassbender | 3 | A | 4 | 6.5 | 11.5 | 13.5 | 26.8 | 99.2 | 0psi | 2.02 | 2.09 | 1.86 | 0 | 6 | 11.3 | 13.8 | 24 | 98.9 | 0psig | 1.45 | 1.43 | 1.51 | 0
Lucia Li | Danielle Janny | 1 | A | 4 | 6 | 12.1 | 13 | 29 | 99.1 | 0.1 psig | 2.512 | 2.6198 | 2.576 | 0 | 7.5 | 14.9 | 13 | 39 | 101 | 0.9 psig | 4.5227 | 4.6427 | 4.3929 | 0 | N/A
Ben Fournier | Conner Monette | 9 | B | 4 | 6.5 | 13.1 | 15.3 | 34.6 | 103.3 | 0 | 3.3135 | 3.3453 | 3.3146 | 0 | 5.5 | 10.6 | 14.3 | 21.4 | 98 | 0 | 1.2593 | 1.3029 | 1.237
Collin Shooltz | Jason Saliga | 1 | B | 5 | 5.5 | 11.95 | 14.3 | 25.1 | 99.05 | 0 | 1.7956 | 1.7182 | 1.6707 | 0 | 7.5 | 15 | 13.6 | 39.2 | 101.3 | 0 | 3.9556 | 3.9401 | 4.2706 | 0 | Condensate flow rates have extra digits recorded for calculations, but are only have 3 sig figs. For the second data set, the temperature varied by 0.5 degrees C for both the condensing steam temperature and the water outlet. The third pail-and-scale trial for the second data set was interrupted because other students had begun closing their steam valves too early, which has resulted in a larger flow rate than expected.
Jonathon Lamers | Leanne Bregni | 1 | A | 5 | 5.5 | 11.6 | 14.7 | 25.8 | 98.3 | 0.1 psig | 1.6648 | 1.7489 | 1.7978 | 0 | 7.5 | 15.1 | 14.5 | 42.1 | 99.8 | 0.2 in Hg vacuum | 4.3455 | 4.5114 | 4.6931 | 0
Alex Reichanadter | Danielle Kehrig | 9 | B | 5 | 6 | 12.9 | 14.9 | 30 | 99.2 | 0psig | 2.1658 | 2.1977 | 2.2289 | 2.1631 | 7 | 14.4 | 14 | 37.4 | 99.2 | 0psig | 3.5141 | 3.4284 | 3.8301 | zero | For data set #2, the 3rd pail and scale was higher than the previous two. During that 3rd pail and scale the Tsat increased by a degree to 100.3 C. The Tsat had remained near constant until this point.
Kendal Johnsen | Brandon McLean | 9 | A | 5 | 7.5 | 14.9 | 13.3 | 40.4 | 102 | 0 psig | 4.133 | 3.924 | 3.847 | 0 | 8 | 16.7 | 13.9 | 49.6 | 110 | 6.5 | 5.382 | 5.456 | 5.449 | 0
Justin Norman | Timothy Tomczak | 9 | B | 6 | 5.5 | 10.6 | 15 | 24 | 102 | 0 | 1.6576 | 1.739 | 1.641 | 0 | 7.5 | 14.5 | 14 | 38 | 97 | 0 | 4.0049 | 4.0542 | 4.0835 | 0 | The first set of data was done with a very bad thermocouple which measured 13 degrees off in the water bath.
Elizabeth Goff | Dylan Trudell | 1 | B | 6 | 6 | 12 | 14 | 26.5 | 97.6 | 0 | 1.93 | 1.8833 | 1.88 | 0 | 8 | 14.3 | 13 | 43.2 | 104.3 | 3.5 | 4.563 | 4.86 | 4.9133 | 0 | N/A
Andrew Zimmerman | Cody Yazzie | 3 | A | 6 | 6 | 11.5 | 13.5 | 26 | 97.8 | 0 | 2.001 | 2.001 | 2.011 | 0 | 8 | 15.1 | 14 | 44.6 | 106.6 | 3.5 | 5.27 | 4.948 | 5.109 | 0
Chase Chauvin | Michaela Cromie | 1 | A | 6 | 7.5 | 13.25 | 12.6 | 34.5 | 96.5 | 0.5 psig | 3.83 | 3.75 | 3.88 | 0 | 6.5 | 12.5 | 12.4 | 25 | 98 | 0.25 psig | 2.193 | 2.19 | 2.16 | 0
Emma Vance | Stefan Scharret | 9 | A | 6 | 8.8 | 14.2 | 14 | 42.7 | 107.5 | 6.3 | 4.6667 | 4.7867 | 4.8033 | 0 | 6 | 12 | 14 | 25.1 | 48.2 | 0 | 2 | 2.0958 | 2.275 | 0 | The second and third trials, at the valve setting of 6/8th open, the pail and scale was only 4 minutes due to time.
Steven Carpenter | James Schmidt | 1 | A | 7 | 7.5 | 12 | 10 | 36 | 100.8 | .75 inches Hg vacuum | 3.467 | 3.717 | 3.65 | 0 | 8 | 13.75 | 10 | 47.4 | 109.2 | 6.5 psi | 6.233 | 6.033 | 5.967 | 0
Bryan Cammin | Dominic Eatherton | 1 | B | 7 | 7 | 14 | 15 | 38 | 104 | 0 | 4.1333 | 4.0415 | 4.4333 | 0 | 6.5 | 11 | 14 | 31 | 99 | -3.5in Hg | 2.8717 | 2.885 | 2.878
Casey Buckner | Travis Pellosma | 9 | B | 7 | 7 | 13 | 15.5 | 40.9 | 104.3 | 2.5 (psi) | 4.3441 | 4.3695 | 4.3296 | 0 | 5.5 | 10.9 | 14.8 | 28.6 | 96.2 | 3.1 (in HG) | 2.1643 | 2.1775 | 2.5407 | 0
Ericka Saari | Dustin Oakwood | 9 | A | 7 | 0 | 0 | 13.1111 | 47.2778 | 14.1667 | 8.3333 | 5.66 | 5.65 | 5.74 | 5.69 | 0 | 0 | 13 | 32.1125 | 97.4375 | 3.5 | 3.38 | 3.42 | 3.49 |  | For the second flow rate we did a fourth trial of only 3 minutes due to being short on time. This mass flow rate was very different from the rest, so we omitted it.
Ellen Hetcher | Meghan Riopelle | 1 | B | 8 | 6 | 11.5 | 14 | 27.5 | 97.9 | -1 inches Hg | 1.09 | 1.07 | 1.09 | 0 | 8 | 16.1 | 13.6 | 42.5 | 107.9 | 5 psig | 2.45 | 2.42 | 2.55 | 0 | n/a
Donnie Palmer | Dillon | 1 | A | 8 | 7 | 13 | 14.1 | 28 | 98 | 1 in Hg | 1.714 | 1.725 | 1.17 |  | 7.5 | 12 | 13.8 | 33 | 101 | 4 inHg | 0.869 | 0.951 | 0.993 |  | During the first data set our thermocouple was off by 16 degrees.
Katelynne Bauer | Alex Schuh | 3 | A | 8 | 6 | 11.2 | 13.7 | 26.6 | 98.5 | 0.75 inches Hg | 2.0567 | 2.2267 | 2.1267 | 0 | 8 | 15.1 | 14 | 42.4 | 100.9 | 0.6 psig | 2.8433 | 3.1333 | 3.06 | 3.0233 | corrected by Dr. Morrison per KB's email Dec 2 2014
Pennie Winters | Sean Forsberg | 9 | B | 8 | 6.5 | 12 | 15.7 | 30.5 | 95.7 | 4 inches Hg vacuum | 3.008 grams/s | 2.685 grams/s | 2.568 grams/s | 0 grams/s | 7.5 | 15 psig | 14.7 oC | 40.1 oC | 107.7 oC | 5.25 psig | 4.471 grams/s | 4.425 grams/s | 0 grams/s | 0 grams/s | We were only able to get two mass flow rates for 7.5/8ths open.
Justin Stefko | Chris Churchill | 1 | A | 9 | 6.5 | 11 | 13.8 | 28.8 | 99.8 | -2 in Hg vacuum | 2.38 | 2.45 | 2.25 | 0 | 6 | 8 | 13.4 | 22.4 | 95.5 | -5 in Hg vacuum | 1.5 | 1.36 | 1.46 | 1.57
Anna Marchesano | Kameo Dunn | 9 | B | 9 | 7 | 11.5 | 14.8 | 31.3 | 99.5 | -2.6 in Hg | 2.52 | 2.56 | 2.61 | 2.56 | 6 | 10.6 | 14.2 | 26 | 98 | -4.3 in Hg | 1.84 | 1.84 | 1.86 | 1.87 | Our condensing steam pressure gauge kept fluctuating + or - 0.1 in Hg.
Joshua Mazure | Joseph Cybulski | 1 | B | 9 | 7 | 12.1 | 34.3 | 14 | 98.1 | -7 mm Hg | 3.39 | 3.49 | 3.35 | 3.34 | 7.5 | 12.75 | 35.6 | 14 | 99.1 | -5.5 in Hg | 3.77 | 3.62 | 3.64 | 3.53
Kaitlin Smith | Cameron Roman | 9 | A | 10 | 7 | 14 | 14 | 36.1 | 98 | -1.9 in. Hg | 3.792 | 3.852 | 3.948 | 3.852 | 8 | 15.5 | 13 | 49.6 | 104 | 1.7 psi | 6.643 | 6.372 | 6.251 | 5.954 | Since this data was collected at Station 10, it was the last station to receive steam. Therefore, our temperatures and steam pressure may have varied more than other stations.
Paul Langford | Austin Nyenhuis | 9 | B | 10 | 7 | 14.2 | 14 | 39 | 98 | 3.5 in. Hg vacuum | 4.149 | 4.317 | 4.0312 | 0 | 6 | 12.3 | 13 | 27 | 94 | 7.8 in. Hg vacuum | 2.4642 | 1.9634 | 2.0675 |  | At the end of the lab, the bucket we used to collect the steam condensate was found to have a very slight leak. We do not expect this to affect our calculations significantly.
Gregory Thelen | Sarah Rasmussen | 1 | B | 10 | 7 | 14.25 | 14.9 | 38.8 | 100 | -4.0 inHg | 4.35 | 4.358 | 4.192 | 0 | 8 | 16 | 14.5 | 47.9 | 107 | 1.5 psi | 4.925 | 9.758 | 9.3583 | 0 | For the 8/8 open valve position, the steam pressure was not constant throughout the trials and varied from 0.5 psi to 2 psi. This could result in the large difference in steam flow rates seen in the lab. One suggestion for future labs is to have the stations farther away from the steam source to do the lower valve open positions so all of the steam is not used by the other groups also operating at high steam flow rates.
Katie Rohlfs | Brody Burns | 1 | A | 10 | 8 | 15.2 | 14.1 | 48 | 100.5 | 3.0 in Hg | 6.16 | 6.3 | 6.23 | 0 | 6 | 12.5 | 13.8 | 26.4 | 95.4 | 8.7 in Hg | 2.14 | 2.25 | 2.36 | 2.34