## CM4110 & CM4120
Date | Observe | Description | Actions | Category | Person Responsible for Followup | Open/Closed | Comments
Open PAWS from past year as of 9/22/2011
2010-11-09 | Unclear instrument labels on membrane separation experiment. | Ambiguous equipment | Discussed issue with Dr. Sandell. | Labeling | Dave | Closed | Labels are clearly marking instrument function and flow stream.
2010-11-09 | Floor drain next to cooling tower experiment has a pipe blocking drain, so the drain plug cannot be used properly if needed. |  | Submitted Paws Form | Safety Suggestion | Jerry | Closed | The drain plug is to prevent a large spill from SRU or PDMS Reactor from going down the drain. The drain trench is dammed off to prevent liquids from flowing toware the south where this pipe blocks the floor drain opening.
2010-12-09 | Do Not Climb sign missing from Pumping A (table with Tank 1 on it) |  | Submitted Paws Form | Safety Suggestion | Dave | Closed | sign was replaced
2010-11-11 | Cannot keep 3 pts on ladder when using Anemometer on Cooling Tower- suggest adding holder and longer wire on probe |  | Submitted Paws Form | Safety Suggestion | Dave | Open
2011-04-12 | Person using cell phone near PDMS experiment |  | Informed cell phone user of rules | Misc. Unsafe Act | Class | Closed | Class discussion suggested placing a basket in the control room near the door to the pilot plant area as a repository for cell phones.
2011-04-12 | Inward facing gate needs to be added to PDMS reactor |  | Tim added a chain across opening | Safety Suggestion | Tim | Closed | complete
2011-04-12 | PDMS SOP screen "heating and cooling system" needs to be used instead of "Overview Screen" |  | Update SOP for PDMS | Misc. Equipment Problem | Dave | Closed | Updated SOP
CM4110 2011
Cycle 1 & 2
2011-09-13 | Attempted to cut wire gauze with bare hands |  | Scissors were placed next to gauze for furture use | Misc. Unsafe Act |  | Closed
2011-09-20 | Cooling Tower Temperature reading high up requires two hand thus not allowing 3-points of contact |  | Submitted Paws Form | Safety Suggestion | Dave | closed | repeat of PAWS form submitted on 9/20/10
2011-09-20 | Water supply tank is leaking due to corrosion on Pumping A experiment |  | tank was repaired | Leaks | Tim | closed | complete
2011-09-20 | Vacuum Dryer sprays water when waste tube discharge is opened too fast. |  | Cleaned spills, Submitted Paws Form | Spill | Dave | Closed
2011-09-20 | Mount "Emergency shower and eye wash" station sign on 2nd floor |  | Submitted Paws Form | Signage, tagging, hazard notification | Tim | Closed
2011-09-22 | Pumping B experiment Valve V-4 leaking |  | Submitted Paws Form | Leaks | Tim | Closed
2011-09-22 | Packed Bed reactor experiment purge button gets sticky due to sugar water discharging |  | Cleaned spills, Submitted Paws Form | Spill | Dave | Closed
Cycle 3
2011-10-11 | Replace the fire extinguisher safety strap to keep the hose in place |  | Submitted Paws Form | Safety Equipment | Tim | closed | replaced strap, 11/18/11
2011-10-25 | Get more insulated gloves |  | purchased more gloves | Safety Suggestion | Tim | closed
2011-10-25 | Water supply tank is leaking on the Pumping A experiment. A drip pan was placed under leak. |  | Submitted Paws Form | Leaks | Tim | closed | repeat of PAWS form submitted on 9/20/11
2011-10-25 | Non-Newtonian Flow- Water bath for the capillary leaks near the pump |  | Submitted Paws Form | Leaks | Tim | closed | tightened fitting, 11/18/11
2011-10-25 | Overhead crane leaks hydraulic oil |  | Submitted Paws Form | Leaks | Jerry | Open
2011-10-25 | Pumping A- No label on Tank 2 |  | Informed TA/ Submitted Paws Form | Signing, Tagging, and Hazard Notification | Tim | closed | put label on tank, 11/18/11
2011-10-25 | Flow Measurement- Hole in weld on valve MV-20 |  | Submitted Paws Form | Leaks | Jerry | Open | will repair after end of semester
2011-10-25 | Non-Newtonian Flow- Ensure depressurizing before removing plastic tubing. |  | Cleaned up spills/ Submitted Paws Form | Not following JSA or SOP |  | Closed
2011-10-25 | Flow Measurement- Right hex screw is leaking on PE-04 |  | Cleaned up spills/ Submitted Paws Form | Leaks | Tim | Open | will repair after end of semester
2011-10-27 | Flow Measurement- DP meter PE-04 has a leak from the bleeding screws |  | Cleaned up spills/ Submitted Paws Form | Leaks | Tim | closed | repeat of PAWS form submitted on 10/25/11
2011-10-27 | Cooling tower level indicator has a small leak and does not fill up with water |  | Cleaned up spills/ Submitted Paws Form | Leaks | Tim | closed | fixed leak
Cycle 4
2011-11-08 | CSTR- NaCl tank leaks at threaded lid when placed on table |  | Placed bucket to catch leak / Submitted PAWS form | Leaks | Tim | Open | will repair after end of semester
2011-11-08 | CSTR- Pumps are Extremely touchy and it is very difficult during start up to bleed lines of air so pumps can flow |  | Shook lines, burped lines, bled lines and eventually pumps caught. Need improved equipment or training / Submitted Paws form | Faulty Equipment | Tim | Open | will repair after end of semester
2011-11-10 | Flow measurement Tank T-1, Bottom weld facing away from exit is leaking |  | Notified Dave Caspary / Submitted Paws form | Leak | Tim | Open | will repair after end of semester
2011-11-10 | In between batch filtration and cooling tower, there is a drip from above pipe rack. | Possible leak from 1st floor | Used paper towel to clean up / Submitted a PAWS form | Leak |  | closed | drip was from a water spill on 1st floor.
2011-11-10 | Condensate forming in the fume hood across from the heat exchanger and is leaking on the floor |  | TA was informed / Submitted a PAWS form | misc unsafe acts |  | closed | The problem was that HF54 was not turned on at the start of the day by the SIC inspectors, even though the item was checked off as complete. The class was informed at the safety meeting.
2011-11-10 | For the FBR, the B-Pure system leaks. A basket was placed to catch leak, but isn't secure |  | Submitted Paws form | Safety Suggestion | Tim | closed | Not a leak, the drip was due to filter change operation.
Cycle 5
2011-12-08 | First cell of B-pure system on FBR lab is leaking |  | Submitted Paws form | Lab Maintenance Ticket | Tim | closed | Not a leak, the drip was due to filter change operation.
2011-12-06 | Plastic water drain hose was kicked off on vacuum dryer experiment. |  | Submitted Paws form | Lab Maintenance Ticket | Dave | closed | put hose clamps on the plasic hose to help secure position.
2011-12-08 | CSTR NaCl feed tank leaks solution from the lid |  | Submitted Paws form/TA was informed | Lab Maintenance Ticket | Tim | open
2011-12-06 | Student was wearing tennis shoes in the lab |  | TA was informed / Submitted a PAWS form | Improper PPE |  | closed | Student was directed to changed into steel toes.
2011-12-06 | Pumping A guards from goulds pump missing |  | Submitted PAWS form | Missing Guards | Tim | closed | after further investigation guards were not missing.
2011-12-08 | Blower on air cyclone sounded bad during last run |  | Submitted PAWS form | Lab Maintenance Ticket | Tim | closed | repaired 3/19/12
2011-12-06 | VD-V5 on vacuum dryer leaks |  | Submitted PAWS form | Lab Maintenance Ticket | Tim | closed | repaired 3/19/12
2011-12-08 | Drain on tank T-1 for FBR lab is clogged |  | Submitted PAWS form | Lab Maintenance Ticket | Tim | Closed | after further investigation tank T-1 did not appear to be clogged.
CM4120 2012
Cycle 1
2012-12-16 | Janitorial staff not wearing hard hat or safety glasses while changing out garbage bags |  | Submitted PAWS form | Improper PPE |  | Closed | Must speak up and tell people to wear their PPE.
2012-12-14 | Dr.Mullins no hard hat in UO lab |  | Submitted PAWS form | Improper PPE |  | Closed | Must speak up and tell people to wear their PPE.
2012-01-26 | Glass Hydrometer was broken when measuring densities for SRU experiment. |  | Submitted PAWS form/glass was cleaned up and descarded | Misc. Unsafe Act |  | Closed
2012-01-24 | The heat was on when the KOH solution was added to the PDMS reactor causing steam to escape and burn someone |  | Submitted PAWS form | Not Following JSA |  | Closed
2012-01-24 | Thermocouple on the PDMS Bench Scale Reactor was not reading trhe temperature correctly and allowed the reaction to get too hot. |  | Submitted PAWS form | Faulty Equipment |  | Closed
2012-01-31 | After pail and scale collected, hot condensate spilled while walking to scale. Some was spilled on pants |  | Submitted PAWS form | Spill |  | Closed
2012-02-07 | No emergency number posted on control room phone |  | Submitted PAWS form | Signing, tagging, hazard notification | Tim | Closed
2012-02-07 | North Most safety eye wash was not firing water out of both nozzels. |  | Submitted PAWS form. | Safety Equipment problem | Tim | Closed
Cycle 2
2012-03-13 | Fire extinguisher behind SRU (2nd level, first floor chemsci) has evidence of powder in hose |  | Submitted PAWS form | Safety Equipment problem | Brian | Closed | Fire extinguisher was checked; no powder, pressure is correct, and pin not pulled
2012-03-20 | Lab group with partical technology class was operating the Air Cyclone. Group members were not wearing dust masks or ear plugs. |  | PAWS form was submitted | Other/PPE | Dave | Closed | Will not be run again for the year
2012-03-27 | Back of Constant temperature bath is leaking water. (Viewing from the backside the right line is leaking about a drip per minute) |  | Cleaned up spill and sbmitted a PAWS form | Leak | Tim | Open
2012-04-05 | Tour group was shown the SRU and PDMS while it was being Operated. (Nothing discussed about hazards of cellphones, cameras, etc in that area) |  | Submitted PAWs form (Dave was told) | Misc. Unsafe Act | Dave | Open
| The shower/eyewash station near the south 1st floor entrance needs to have a new safety check tag |  | Submitted PAWs form | Safety Equipment problem | Brian | Closed | Tag was replaced.